## Slide 1: Cross-calibration and visualization of data for a portable air quality monitor
Olivier K. Francois
Amy Mueller
Assistant Professor, Civil & Environmental Engineering and Marine & Environmental Sciences
Olivier Kepler Francois
Civil Engineering & Computer Science
Ruifeng Song
PhD Student, civil &Environmental Engineering, Northeastern University
Claire Duggan
Executive Director, The Center for STEM Education Northeastern University

## Slide 2
  MOTIVATION
  Due to the high expenses associated with instrumentation and the variability of air quality in complex urban settings, the project intends to support various ongoing initiatives by implementing cost-effective sensors. These sensors will play a vital role in achieving critical goals for monitoring urban air quality.

## Slide 3: Cross-calibration and visualization of data for a portable air quality monitor
Deploying the portable air quality monitors and the reference instruments in the same place and conducting the comparison experiment in different locations where they have different air pollutant concentrations

## Slide 4: Timeline
Week 1
Read background materials to learn air quality monitoring vocabulary and understand the meaning of data from field sensors.
Week 2
Completed all necessary safety (EHS) training required for work on campus, while concurrently working on understanding how the modules function.
Week 3
Understand the software operation for air sensor measurements, including SD card recording and real-time data download.
Week 4
Utilize High-precision instruments to gain insight into their functionality in order to compare them with our own.
Week 5
Conduct comparison experiments between our sensors and other sensors to assess accuracy.
Week 6
Week 7-8
Analyze the data collected by sensors and compare them with our data using various comparison methods and graphs.
Focus on the final presentation and the preparation of the poster.

## Slide 5
Read background materials to learn air quality monitoring vocabulary and understand the meaning of data from field sensors
A: GPS
B: Micro Controller
C: TVOC & eCO2 & Ethanol (SGP)
D: TVOC & eCO2 (CCS)
E: Temp & RH
F: PM
G: SD Module
Characteristics
Measurement
Particles matter (PM)
Volatile compounds (VOCs)
Humidity
Temperature

## Slide 6
Comparison instruments
Utilize other sensors to gain insight into their functionality in order to compare them with our own.
Detect VCOs
VOC08, Volatile Organic Compound Emission Detector
DustTrak™ DRX Aerosol Monitor
PM1, PM2.5, PM10
Dylos sensor
PM1, PM2.5, respirable, PM10
VOCs , PM1, PM2.5, PM10

## Slide 7
Data Collection
We went to different places with varying levels of concentration. We first went to a place with lower concentration and then to a place with a middle level of concentration.
Ruggles Station
Northeastern
Ruggles Station
Northeastern Station

## Slide 8
Data analysis procedure
Understand the software operation for air sensor measurements, including SD card recording and real-time data download.

## Slide 9
Visualization
The coefficient of determination, or R2, measures how well the data fit the fitted regression line. In this case, the R2 value is greater when the fan is on compared to when the fan is off. This suggests that the lunch box with the fan is more accurate than the one without the fan when comparing their performance to the TSI sensor.
FAN-ON
FAN-OFF

## Slide 10: Challenges
Data collection posed difficulties due to some irregularities and missing data.
Analyzing data for comparison using Python also presented challenges that required careful thought and problem solving.
.
Data from the lunch boxes sensors
Data from the DustTrack sensor

## Slide 11: Next step
High concentration
Since we conduct experiments in spaces with low average concentration, it is necessary to perform similar tests in a location with high concentration
Layout
Find a method to alter the layout of the sensor modules and the fan arrangement to enhance accuracy.
Experiment with VOCs
As we did the comparison for the PM, we must do the same thing for VOCs.

## Slide 12: Idea of conception
Preliminary sketch

## Slide 13: Thank You
Olivier Kepler Francois
olivierkfrancoi1@gmail.com